## Sensor Calibration
Soil Moisture (Capacitive Soil Moisture V1.2) | [6 empty] | Soil Temperature (DS18B20) | [6 empty] | Light Intensity (BH1750VI)
Reference | Sensor Read | Calibration | Sensor Accuracy | Calibration Accuracy | Sensor Accuracy Refined | Calibration Accuracy Refined | Reference | Sensor Read | Calibration | Sensor Accuracy | Calibration Accuracy | Sensor Accuracy Refined | Calibration Accuracy Refined | Reference | Sensor Read | Calibration | Sensor Accuracy | Calibration Accuracy | Sensor Accuracy Refined | Calibration Accuracy Refined
62.17 | 52.34 | 62.1687 | 84.1885 | 99.9979 | 84.1885 | 99.9979 | 31 | 27 | 30 | 87.0968 | 96.7742 | 87.0968 | 96.7742 | 3800 | 3830 | 3214.407 | 100.7895 | 84.5897 | 99.2105 | 84.5897
62.08 | 56.35 | 62.1686 | 90.77 | 100.1427 | 90.77 | 99.8573 | 30 | 27 | 30 | 90 | 100 | 90 | 100 | 1642 | 1513 | 1469.9377 | 92.1437 | 89.5212 | 92.1437 | 89.5212
62.13 | 59.56 | 62.1685 | 95.8635 | 100.062 | 95.8635 | 99.938 | 31 | 27 | 30 | 87.0968 | 96.7742 | 87.0968 | 96.7742 | 3046 | 2230 | 2009.767 | 73.2108 | 65.9805 | 73.2108 | 65.9805
62.08 | 59.56 | 62.1685 | 95.9407 | 100.1426 | 95.9407 | 99.8574 | 31 | 27 | 30 | 87.0968 | 96.7742 | 87.0968 | 96.7742 | 4015 | 3015 | 2600.7935 | 75.0934 | 64.7769 | 75.0934 | 64.7769
62.04 | 60.04 | 62.1685 | 96.7763 | 100.2072 | 96.7763 | 99.7928 | 26 | 27 | 30 | 103.8462 | 115.3846 | 96.1538 | 84.6154 | 980 | 1000 | 1083.7 | 102.0408 | 110.5816 | 97.9592 | 89.4184
62.34 | 59.56 | 62.1685 | 95.5406 | 99.7249 | 95.5406 | 99.7249 | 29 | 26 | 29 | 89.6552 | 100 | 89.6552 | 100 | 900 | 990 | 1076.171 | 110 | 119.5746 | 90 | 80.4254
62.73 | 59.56 | 62.1685 | 94.9466 | 99.1049 | 94.9466 | 99.1049 | 31 | 26 | 29 | 83.871 | 93.5484 | 83.871 | 93.5484 | 1325 | 1300 | 1309.57 | 98.1132 | 98.8355 | 98.1132 | 98.8355
61.87 | 59.56 | 62.1685 | 96.2664 | 100.4825 | 96.2664 | 99.5175 | 31 | 26 | 29 | 83.871 | 93.5484 | 83.871 | 93.5484 | 1340 | 1513 | 1469.9377 | 112.9104 | 109.6968 | 87.0896 | 90.3032
62.08 | 62.02 | 62.1685 | 99.9034 | 100.1425 | 99.9034 | 99.8575 | 31 | 27 | 30 | 87.0968 | 96.7742 | 87.0968 | 96.7742 | 1300 | 1420 | 1399.918 | 109.2308 | 107.686 | 90.7692 | 92.314
62.17 | 60.34 | 62.1685 | 97.0565 | 99.9976 | 97.0565 | 99.9976 | 25 | 26 | 29 | 104 | 116 | 96 | 84 | 1580 | 1500 | 1460.15 | 94.9367 | 92.4146 | 94.9367 | 92.4146
|  | Average Accuracy | 94.7252 | 100.0005 | 94.7252 | 99.9995 |  |  | Average Accuracy | 90.363 | 100.5578 | 90.363 | 99.4422 |  |  | Average Accuracy | 96.8469 | 94.3657 | 89.8526 | 84.8579
Air Moisture (DHT11) | [6 empty] | Air Temperature (DHT11)
Reference | Sensor Read | Calibration | Sensor Accuracy | Calibration Accuracy | Sensor Accuracy Refined | Calibration Accuracy Refined | Reference | Sensor Read | Calibration | Sensor Accuracy | Calibration Accuracy | Sensor Accuracy Refined | Calibration Accuracy Refined
45.5 | 58.2 | 48.3122 | 127.9121 | 106.1807 | 72.0879 | 93.8193 | 26.8 | 20 | 27.098 | 74.6269 | 101.1119 | 74.6269 | 98.8881
59 | 60.5 | 57.4455 | 102.5424 | 97.3653 | 97.4576 | 97.3653 | 27.9 | 21 | 27.8024 | 75.2688 | 99.6502 | 75.2688 | 99.6502
55 | 60 | 55.46 | 109.0909 | 100.8364 | 90.9091 | 99.1636 | 28.2 | 21 | 27.8024 | 74.4681 | 98.5901 | 74.4681 | 98.5901
65.5 | 63.2 | 68.1672 | 96.4885 | 104.0721 | 96.4885 | 95.9279 | 28.9 | 25 | 30.62 | 86.5052 | 105.9516 | 86.5052 | 94.0484
59.5 | 61 | 59.431 | 102.521 | 99.884 | 97.479 | 99.884 | 30 | 25 | 30.62 | 83.3333 | 102.0667 | 83.3333 | 97.9333
62.3 | 61 | 59.431 | 97.9133 | 95.3949 | 97.9133 | 95.3949 | 29.9 | 25 | 30.62 | 83.612 | 102.408 | 83.612 | 97.592
55.1 | 60.4 | 57.0484 | 109.6189 | 103.5361 | 90.3811 | 96.4639 | 30.5 | 26 | 31.3244 | 85.2459 | 102.703 | 85.2459 | 97.297
53.9 | 60.8 | 58.6368 | 112.8015 | 108.7881 | 87.1985 | 91.2119 | 31.8 | 25 | 30.62 | 78.6164 | 96.2893 | 78.6164 | 96.2893
65 | 60.5 | 57.4455 | 93.0769 | 88.3777 | 93.0769 | 88.3777 | 32.9 | 25 | 30.62 | 75.9878 | 93.0699 | 75.9878 | 93.0699
59.8 | 60.8 | 58.6368 | 101.6722 | 98.0548 | 98.3278 | 98.0548 | 34.4 | 30 | 34.142 | 87.2093 | 99.25 | 87.2093 | 99.25
|  | Average Accuracy | 105.3638 | 100.249 | 94.6362 | 99.751 |  |  | Average Accuracy | 80.4874 | 100.1091 | 80.4874 | 99.8909

## UB Forest Reading
Itteration | Soil Moisture (Capacitive Soil Moisture V1.2) |  | Soil Temperature (DS18B20) |  | Air Moisture (DHT11) |  | Air Temperature (DHT11) |  | Light Intensity (BH1750VI)
| Dry Soil | Wet Soil | Dry Soil | Wet Soil | Dry Air | Wet Air | Dry Air | Wet Air | Morning | Dawn
1 | 56 | 83 | 27 | 23 | 60 | 84 | 20 | 17 | 52344 | 60
2 | 50 | 75 | 27 | 23 | 58 | 85 | 21 | 16 | 54609 | 105
3 | 46 | 83 | 27 | 23 | 0 | 86 | 21 | 0 | 51223 | 623
4 | 35 | 80 | 27 | 24 | 57 | 84 | 20 | 16 | 53988 | 1245
5 | 27 | 80 | 27 | 23 | 57 | 84 | 23 | 17 | 30101 | 1004
6 | 40 | 78 | 26 | 23 | 58 | 84 | 20 | 16 | 49303 | 1000
7 | 41 | 80 | 26 | 23 | 57 | 86 | 20 | 0 | 50004 | 98
8 | 40 | 81 | 26 | 24 | 58 | 84 | 0 | 16 | 51699 | 6499
9 | 40 | 88 | 26 | 24 | 62 | 83 | 21 | 16 | 51040 | 128
10 | 42 | 73 | 26 | 24 | 57 | 84 | 21 | 15 | 50312 | 593